**Sask Blue Cross:**

**Data/Voice:**

**Floor Mounted with Electrical:**

Kitchen Lounge (212) – Qty = 1

Boardroom – Qty = 3

Behind boardroom under table – Qty = 1

Meeting Room Near Stairs – Qty = 1

Near 206 – Qty = 1

Executive 209 – Qty = 1

Near Executive 209 – Qty = 1

Facilities and Near Facilities – Qty = 1

Corridor opposite to Janitor room – Qty = 1

**Wall Mounted with Electrical:**

Atrium Bulkhead – Qty = 2

**Wall Mounted:**

Boardroom near counter – Qty = 1

Behind boardroom - Qty = 1

Next room – Qty = 1

Copy Centre 211 – Qty = 4

Quiet room 209.8 – Qty = 1

Rear of Copy – Qty = 1

Executive bottom – Qty = 4

Executive 209 – Qty = 2

Near Executive 209 – Qty = 1

Room front of 206 – Qty = 2

Facilities and Near Facilities 200– Qty = 6

Human Resources and left of human resources 201 – Qty = 6

Interview room 203 – Qty = 1

Room opposite to Janitor room – Qty = 2

**Other Low voltage systems to be considered:**

Motion and temperature detection for intrusion

Security Card, keypad, door contact

Surveillance camera

Audio System

Paging System

TV Outlet

Motorized Blinds

**Questions to ask:**

1. Quotation includes Basement main and second floor renovation racks plus all data outlets attached to it for equipment
2. Does installation include cabling, termination and equipment installation for data / voice including racks?
3. For Floor , wall mounted data / voice with duplex electrical outlet, is it to be provided by electrician or us, finishes on all wall plates (stainless steel or plastic). If provided by us, who is the supplier to use.
4. For the other low voltage systems, are we supplying equipment or only cabling? Is there a cabling plan for the same in drawings or we have to make it up? What about the head ed equipment or specs for the same?

**Basement:**

**Wall Mounted:**

Storage 017 – Qty = 1

Imaging 016 – Qty = 3

Paper storage 015– Qty = 3

Printers and equipment 15.2 – Qty = 8

**Main Floor:**

**Wall Mounted:**

Support Services 117 – Qty = 8

Individual Sales 108 – Qty = 10

Room near janitor – Qty = 1

Rooms and area side of mens and womens w/c – Qty = 4

WK ST 105 – Qty = 1

Near Marketing Storage 106 – Qty = 3

Marketing 107 – Qty = 4

Client Services 101.1 – Qty = 7

Meeting rm 103 – Qty = 1

Meeting rm 102 – Qty = 1

Large Meeting rm 113 – Qty = 1

Sales 114 – Qty = 15

**Floor Mounted with electrical outlet:**

Support Services 117 – Qty = 1

Rooms and area side of mens and womens w/c – Qty = 1

Client Services 101.1 – Qty = 1

Waiting Area 101 – Qty = 1

Large Meeting Rm 113 – Qty = 1

Sales 114 – Qty = 2

**Third Floor:**

**Wall mounted:**

Enclosed Patio 301 – Qty = 1

**Floor Mounted:**

Enclosed Patio 301 – Qty = 1